## Data Sheet
PROCESS CONDITIONS & DATA | [8 empty] | = Drop Down List
SYSTEM LOCATION | Building 11, Room S126 | [7 empty] | = Manual Entry
FLUID CONTENTS | Helium, He (Research Purity)
YEAR BUILT | 1992
MIN DESIGN METAL TEMPERATURE (MDMT) | -20 | °F
MAX ALLOWABLE WORKING PRESSURE (MAWP) | 150 | psig | 140 | °F
MAX OPERATING PRESSURE (MOP) | 30 | psig | 70 | °F
NORMAL OPERATING CONDITIONS | 10 | psig | 70 | °F
TEST PRESSURE | 165 | psig |  | °F
PRESSURE TEST TYPE | PNEUMATIC | [6 empty] | -
SOURCE GAS PRESSURE | 2600 | psig | [5 empty] | HYDROSTATIC
RELIEF BACK PRESSUE | 0 | psig | [5 empty] | PNEUMATIC
EQUIVALENT Cv | 0.06 | [6 empty] | COMBINATION
COMPONENT DESCRIPTION
COMPONENT | SIZE (NPS) | MATERIAL | RATING (psig) | FLOW COEFFICIENT (Cv) | MAX CAPACITY (SCFM)
1st STAGE REGULATOR |  |  |  | 0.06
2nd STAGE REGULATOR |  |  |  | -
FLOW RESTRICTOR |  |  |  | -
NEEDLE VALVE |  |  |  | -
BALL VALVE |  |  |  | -
PRESSURE RELIEF SYSTEM DESIGN AND CALCULATIONS
| TYPE | SIZE (NPS) | MATERIAL | SET PRESSURE (psig) | REQUIRED FLOW RATE (SCFM) | MAX FLOW RATE (SCFM)
RELIEF DEVICE | VALVE | 0.25 | SS 316L | 100 | 264.1789 |  | 86.6622 | -
REQUIRED NOZZLE AREA | 0.043073 |  | in2 |  |  |  |  | N/A
ACTUAL NOZZLE AREA | 0.076 |  | in2 |  |  |  |  | VALVE
DISC

## Calculation
Required Relief Load Calculation:
* Calculation based on catastrophic regulator failure upstream of relief device; checks for critical or sub-critical flow to determine the relief load
| System Set Pressure, Pset = |  | 100 | psig
| Source Gas Pressure, PF1 = |  | 2600 | psig
| Equivalent CV, CVF1 = |  | 0.06
| Gas Specific Heat Ratio, kF1 = |  | 1.6659
| Gas Molecular Weight, M.W. = |  | 4.0026 | g/gmole
| A = |  | 2327.4973
| B = |  | 7170.2622
|  | Critical Pressure Ratio, Pc/P1 = | 0.48724
| Relief Load, WF1 = |  | 264.1789 | SCFM
Relief Valve Sizing:
* Sizing based on API 520 Section 5.6.3 or 5.6.4 Equations
| Normal Operating Pressure, PN = |  | 10 | psig
| Normal Operating Temp., TN = |  | 530.67 | oR
| Relief Valve Back Pressure, P2 = |  | 0 | psig
| Gas Molecular Weight, M.W. = |  | 4.0026 | g/gmole
| Gas Density, ρ = |  | 0.50416 | kg/m3
| Backpressure Capacity Correction, Kb = |  | 1
| Rupture Disk Capacity Correction, KC = |  | 1
| Coefficient of Discharge, KD = |  | 0.95
| Gas Compressability Factor, Z = |  | 1
API 520 Non-Fire Case Required Area Calculation | Upstream Relieving Pressure, P1 = |  | 124.696 | psia
| Gas Temp. @ Relieving Pressure, T1 = |  | 530.67 | oR | *Assuming Adiabatic Compression of the gas due to very low volume and short duration of spike in pressure following abrupt open regulator failure.
| Relief Load, qm,relief = |  | 264.1789 | SCFM
| Critical Flow Pressure, Pcf = |  | 60.7573 | psia
*Critical Flow
| Constant, C = |  | 377.5608
Ratio, r =
Coefficient of Sub-Critical Flow, F2 =
| Effective Dishcarge Area of Valve, A = |  | 0.043073 | in.2
| Max. Flow Rate of Relief Valve, V = |  | 86.6622 | SCFM
Note on D14: Ronak A. Patel: Value from PSA Price Build-Up or PSA Sizing Simulation.
Note on D15: Ronak A. Patel: Value from PSA Price Build-Up or PSA Sizing Simulation.
Note on D16: Ronak A. Patel: Enter total backpressure in psig.
Note on D17: Ronak A. Patel: Value from Sizing Simulation. Refer to GSG-PI-CL-003-01.xlsx
Note on D18: Ronak A. Patel: Value from Sizing Simulation. Refer to GSG-PI-CL-003-01.xlsx
Note on D19: Ronak A. Patel: Value = 1 for Conventional and Pilot Operated PSV. Refer to API 520 for Bellow design value.
Note on D20: Ronak A. Patel: Value of 1 used when no rupture disk is present.
Note on D21: Ronak A. Patel: Value of .975 used for initial sizing, final manufacturer value should be compared to ensure adequate sizing.
Note on D22: Ronak A. Patel: Typically a value of 1 is a valid assumption unless pressures exceed 1ksig or have significant amounts of heavy hydrocarbons
Note on D23: Ronak A. Patel: Assumes 10% overpressure allowance for Non-Fire Case Only!
Note on D25: Ronak A. Patel: Maximum Blocked Flow Case based on Off-Gas Drum or Adsorber Vessel.
Note on D26: Ronak A. Patel: If Pcf > Pb then critical flow, if Pcf < Pb then sub-critical flow.

## Process DS
1 | PROCESS CONDITIONS | [17 empty] | REV.
2 | PARAMETER |  | UNITS | FEED STREAM |  |  |  |  | PRODUCT STREAM | [6 empty] | WASTE GAS STREAM |  |  |  | NO | Hide CB&I proprietary numbers/information on datasheet
3 | TEMPERATURE, |  | °F | 70 |  |  |  |  | 37 | [6 empty] | 37 |  |  |  | 294.2611 | 275.9278 | 275.9278 | K, feed temperature ; product temperature : waste gas temperature
4 | PRESSURE, |  | psig | 30 |  |  |  |  | 30 | [6 empty] | 0.3 |  |  |  | 3.0817 | 3.0817 | 1.0339 | bara, feed pressure : product pressure : waste gas pressure
5 | COMPOSITION |  |  | DATA PROVIDED |  |  | WET BASIS |  | DATA PROVIDED |  |  |  |  | WET BASIS
6 | Component 1 | Water Vapor - H2O |  | 2e-05 |  | VOL % | 2e-05 | VOL % | -76 |  | °C DEW POINT |  |  | 0.0001016 | VOL % |  | #DIV/0! | VOL %
7 | Component 2 | CARBON DIOXIDE - CO2 |  | 1e-05 |  | VOL % | 1e-05 | VOL % | 99.95 |  | VOL % | MINIMUM |  | 99.95 | VOL % |  | #DIV/0! | VOL %
8 | Component 3 | CARBON MONOXIDE - CO |  | 1e-05 |  | VOL % | 1e-05 | VOL % | 49 |  | PPMV | MAXIMUM |  | 0.0049 | VOL % |  | #DIV/0! | VOL %
9 | Component 4 | METHANE - CH4 |  | 1e-05 |  | VOL % | 1e-05 | VOL % | 1 |  | PPMV | BALANCE |  | 7.4873e-05 | VOL % |  | #DIV/0! | VOL %
10 | Component 5 | NITROGEN - N2 |  | 4e-05 |  | VOL % | 4e-05 | VOL % | 0.03 |  | VOL % | BALANCE |  | 0.022462 | VOL % |  | #DIV/0! | VOL %
11 | Component 6 | OXYGEN - O2 |  | 1e-05 |  | VOL % | 1e-05 | VOL % | 0.03 |  | VOL % | BALANCE |  | 0.022462 | VOL % |  | #DIV/0! | VOL %
12 | Component 7 | HELIUM - He |  | 99.9999 |  | VOL % | 99.9999 | VOL % | [5 empty] | 0 | VOL % |  | #DIV/0! | VOL %
13 | Component 8 | - |  | 0
14 | Component 9 | - |  | 0
15 | Component 10 | - |  | 0
16 | Component 11 | - |  | 0
17 | Component 12 | - |  | 0
18 | Component 13 | - |  | 0
19 | Component 14 | - |  | 0
20 | Component 15 | - |  | 0
21 | Component 16 | - |  | 0
22 | Component 17 | - |  | 0
23 | Component 18 | - |  | 0
24 |  | TOTAL |  | 100 |  | VOL % | 100 | VOL % | [5 empty] | 100 | VOL % |  | #DIV/0! | VOL %
25 | ENTERED FLOW RATE |  | KG/H
26 | STREAM FLOW RATE, |  | NM3/H (0°C) |  | 0 |  |  |  |  | 0 | [5 empty] | 0
27 | WATER FLOW IF LIQUID PHASE, |  | LITER/DAY |  | 0 |  |  |  |  | 0 | [5 empty] | #DIV/0!
28 | C2+ HYDROCARBONS IN STREAM |  |  |  | 0 |  | VOL % |  |  | 0 |  |  | VOL % |  |  | #DIV/0! |  | VOL %
29 | C5+ HYDROCARBONS IN STREAM |  |  |  | 0 |  | VOL % |  |  | 0 |  |  | VOL % |  |  | #DIV/0! |  | VOL %
30 | SOUR GAS STREAM (H2S PRESENT) |  |  | NO |  |  |  |  | NO | [6 empty] | NO |  |  |  | 10 | ppmv level of H2S above which sour gas stream assumed
31 | WET GAS STREAM (H2O PRESENT) |  |  | NO |  |  |  |  | NO | [6 empty] | #DIV/0! |  |  |  | 100 | ppmv level of H20 above which wet gas stream assumed
32 | ACID GAS STREAM (CO2 + H2O PRESENT) |  |  | NO |  |  |  |  | NO | [6 empty] | #DIV/0! |  |  |  | 10 | ppmv level of CO2 above which acid gas stream assumed, this check also uses H2O level above
33 | MOLECULAR WEIGHT, |  | KG/KGMOLE |  | 4.0026 |  |  |  |  | 44.0024 | [5 empty] | #DIV/0!
34 | SPECIFIC GRAVITY, |  | - |  | 0.13821 |  |  |  |  | 1.5194 | [5 empty] | #DIV/0!
35 | HIGHER HEATING VALUE, |  | KCAL/NM3 |  | 0.0013461 |  |  |  |  | 0.15531 | [5 empty] | #DIV/0!
36 | LOWER HEATING VALUE, |  | KCAL/NM3 |  | 0.0011569 |  |  |  |  | 0.15412 | [5 empty] | #DIV/0!
37 | WOBBE NUMBER, HHV BASIS, |  | KCAL/NM3 |  | 0.0036208 |  |  |  |  | 0.126 | [5 empty] | #DIV/0!
38 | WOBBE NUMBER, LHV BASIS, |  | KCAL/NM3 |  | 0.0031117 |  |  |  |  | 0.12503 | [5 empty] | #DIV/0!
39 | GAS DENSITY, |  | KG/M3 |  | 0.50416 |  |  |  |  | 5.9106 | [5 empty] | #DIV/0!
40 | DYNAMIC VISCOSITY, |  | CENTIPOISE |  | 0.016818 |  |  |  |  | 0.01365 | [5 empty] | #DIV/0!
41 | KINEMATIC VISCOSITY, |  | M2/S |  | 3.3359e-05 |  |  |  |  | 2.3094e-06 | [5 empty] | #DIV/0!
42 | THERMAL CONDUCTIVITY, |  | W/M.K |  | 0.1457 |  |  |  |  | 0.0151 | [5 empty] | #DIV/0!
43 | MIXTURE HEAT CAPACITY, |  | KJ / KGMOLE.K |  | 20.8 |  |  |  |  | 36.1558 | [5 empty] | #DIV/0!
44 | HEAT CAPACITY RATIO, γ |  | - |  | 1.6659 |  |  |  |  | 1.2986 | [5 empty] | #DIV/0!
45 | ATMOSPHERIC PRESSURE |  | BARA | 1.0132 | [15 empty] | 1.0132 | bara, atmospheric pressure

## Process CL
8.3145 | J/gmole.K, ideal gas constant | [25 empty] | SG reference, kg/kgmole | 28.96
[27 empty] | Pressure, bara | 3.0817 | 3.0817 | 1.0339 | [150 empty] | H2O mol frac limit = | 0.0001 | Heat loss = | 0 | % feed H
2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 |  |  |  | Temperature, K | 294.2611 | 275.9278 | 275.9278 | [144 empty] | H2S mol frac limit = | 1e-05 |  | H2O mol frac limit = | 0.0001 |  | CO2 mol frac limit = | 1e-05 | Tref = | 298.15 | K
| kg/kgmole | BTU/scf |  |  | K | bara | cm3/gmole | - | - | debeyes | J/gmole K | J/gmole K2 | J/gmole K3 | J/gmole K4 | W/m K | W/m K2 | W/m K3 | W/m K4 | - | BTU/scf |  |  |  | Mole fractions, y |  |  |  | Mol weight |  |  | HHV |  |  | HHV |  |  | C2+ hydrocarbons | [5 empty] | C5+ hydrocarbons | [5 empty] | Heat capacity, Cp |  |  | Thermal conductivity individual |  |  | Feed Wilke kinetic theory approach for thermal conductivity | [17 empty] | Product Wilke kinetic theory approach for thermal conductivity | [17 empty] | Waste Gas Wilke kinetic theory approach for thermal conductivity | [17 empty] | Viscosity individual | [7 empty] | microPoise |  |  | Feed Wilke kinetic theory approach for viscosity | [17 empty] | Product Wilke kinetic theory approach for viscosity | [17 empty] | Waste Gas Wilke kinetic theory approach for viscosity | [17 empty] | H2S present? |  |  | H2O present? |  |  | Acid gas present? |  |  | Enthalpy
Formula | MW | HHV | C2+ HC | C5+ HC | Tcrit | Pcrit | Vcrit | Zcrit | Accentric factor | Dipole moment | Cp term 1 | Cp term 2 | Cp term 3 | Cp term 4 | k term 1 | k term 2 | k term 3 | k term 4 | Association factor for viscosity | LHV |  |  |  | Feed | Product | Waste Gas |  | Feed | Product | Waste Gas | Feed | Product | Waste Gas | Feed | Product | Waste Gas | Feed, vol% | Feed, wt% | Product, vol% | Feed, wt% | Waste Gas, vol% | Waste Gas, wt% | Feed, vol% | Feed, wt% | Product, vol% | Feed, wt% | Waste Gas, vol% | Waste Gas, wt% | Feed | Product | Waste Gas | Feed | Product | Waste Gas | φ1,j | φ2,j | φ3,j | φ4,j | φ5,j | φ6,j | φ7,j | φ8,j | φ9,j | φ10,j | φ11,j | φ12,j | φ13,j | φ14,j | φ15,j | φ16,j | φ17,j | φ18,j | φ1,j | φ2,j | φ3,j | φ4,j | φ5,j | φ6,j | φ7,j | φ8,j | φ9,j | φ10,j | φ11,j | φ12,j | φ13,j | φ14,j | φ15,j | φ16,j | φ17,j | φ18,j | φ1,j | φ2,j | φ3,j | φ4,j | φ5,j | φ6,j | φ7,j | φ8,j | φ9,j | φ10,j | φ11,j | φ12,j | φ13,j | φ14,j | φ15,j | φ16,j | φ17,j | φ18,j | µR | Fc | Feed T* | Collision integral | Product T* | Collision integral | Waste Gas T* | Collision integral | Feed η | Product η | Waste Gas η | φ1,j | φ2,j | φ3,j | φ4,j | φ5,j | φ6,j | φ7,j | φ8,j | φ9,j | φ10,j | φ11,j | φ12,j | φ13,j | φ14,j | φ15,j | φ16,j | φ17,j | φ18,j | φ1,j | φ2,j | φ3,j | φ4,j | φ5,j | φ6,j | φ7,j | φ8,j | φ9,j | φ10,j | φ11,j | φ12,j | φ13,j | φ14,j | φ15,j | φ16,j | φ17,j | φ18,j | φ1,j | φ2,j | φ3,j | φ4,j | φ5,j | φ6,j | φ7,j | φ8,j | φ9,j | φ10,j | φ11,j | φ12,j | φ13,j | φ14,j | φ15,j | φ16,j | φ17,j | φ18,j | Feed | Product | Waste Gas | Feed | Product | Waste Gas | Feed | Product | Waste Gas | Feed | Product | Waste Gas
H2O | 18.0153 | 50.312 | 0 | 0 | 647.3 | 221.2 | 57.1 | 0.235 | 0.235 | 0 | 32.24 | 0.001924 | 1.055e-05 | -3.596e-09 | 0.007341 | -1.013e-05 | 1.801e-07 | -9.1e-11 | 0.076 | 0.007341 | 0 | 0 | 0 | 2e-07 | 1.016e-06 | #DIV/0! |  | 3.6031e-06 | 1.8304e-05 | #DIV/0! | 1.0062e-05 | 5.1117e-05 | #DIV/0! | 1.4682e-09 | 7.4585e-09 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 6.7256e-06 | 3.4035e-05 | #DIV/0! | 0.017636 | 0.016346 | 0.016346 | 2e-07 | 1.2013e-07 | 1.8698e-07 | 2.9876e-07 | 1.8992e-07 | 1.7867e-07 | 1.7206e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.016e-06 | 6.0561e-07 | 9.5952e-07 | 1.5105e-06 | 9.7565e-07 | 9.158e-07 | 8.9618e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1.0112 | 0.57247 | 2.1345 | 0.53681 | 2.2047 | 0.53681 | 2.2047 | 94.8754 | 88.947 | 88.947 | 2e-07 | 1.5095e-07 | 2.1167e-07 | 2.2841e-07 | 2.171e-07 | 2.1768e-07 | 5.5258e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.016e-06 | 7.6729e-07 | 1.0835e-06 | 1.1658e-06 | 1.1118e-06 | 1.1134e-06 | 2.8497e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | -2.6166e-05 | -0.00075809
CO2 | 44.0095 | 0 | 0 | 0 | 304.1 | 73.8 | 93.9 | 0.274 | 0.239 | 0 | 19.8 | 0.07344 | -5.602e-05 | 1.715e-08 | -0.007215 | 8.015e-05 | 5.477e-09 | -1.053e-11 | 0 | 0 | -393522 | 0 | 0 | 1e-07 | 0.9995 | #DIV/0! |  | 4.401e-06 | 43.9875 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 3.6997e-06 | 36.1412 | #DIV/0! | 0.016576 | 0.015096 | 0.015096 | 1.5612e-07 | 1e-07 | 1.5414e-07 | 2.4045e-07 | 1.5686e-07 | 1.4939e-07 | 1.3859e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5759 | 0.9995 | 1.5742 | 2.4179 | 1.604 | 1.5235 | 14.4318 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.93413 | 1.2186 | 1.4432 | 1.1426 | 1.489 | 1.1426 | 1.489 | 145.4146 | 136.4857 | 136.4857 | 1.203e-07 | 1e-07 | 1.3365e-07 | 1.3582e-07 | 1.371e-07 | 1.3951e-07 | 2.9624e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2017 | 0.9995 | 1.3453 | 1.3632 | 1.3805 | 1.4031 | 3.0037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | -1.4422e-05 | -814.4474
CO | 28.0101 | 320.5 | 0 | 0 | 132.9 | 35 | 93.2 | 0.295 | 0.066 | 0.1 | 30.87 | -0.01285 | 2.789e-05 | -1.272e-08 | 0.0005067 | 9.125e-05 | -3.524e-08 | 8.199e-12 | 0 | 320.5 | -110527 | 0 | 0 | 1e-07 | 4.9e-05 | #DIV/0! |  | 2.801e-06 | 0.0013725 | #DIV/0! | 3.205e-05 | 0.015704 | #DIV/0! | 3.205e-05 | 0.015704 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 2.918e-06 | 0.0014298 | #DIV/0! | 0.024516 | 0.023174 | 0.023174 | 1.0457e-07 | 6.633e-08 | 1e-07 | 1.538e-07 | 1.0153e-07 | 9.6255e-08 | 8.1528e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0751e-05 | 3.1996e-05 | 4.9e-05 | 7.4173e-05 | 4.9798e-05 | 4.7111e-05 | 0.00040309 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.0010396 | 0.98181 | 2.7883 | 1.0603 | 2.6146 | 1.0799 | 2.6146 | 1.0799 | 166.7865 | 158.5766 | 158.5766 | 9.3602e-08 | 7.4163e-08 | 1e-07 | 1.0531e-07 | 1.0236e-07 | 1.0302e-07 | 2.2931e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5572e-05 | 3.6128e-05 | 4.9e-05 | 5.1475e-05 | 5.0173e-05 | 5.0432e-05 | 0.00011298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | -1.1348e-05 | -0.031773
CH4 | 16.0425 | 1010 | 0 | 0 | 190.4 | 46 | 99.2 | 0.288 | 0.011 | 0 | 19.25 | 0.05213 | 1.197e-05 | -1.132e-08 | -0.001869 | 8.727e-05 | 1.179e-07 | -3.614e-11 | 0 | 909.4 | -74873 | 0 | 0 | 1e-07 | 7.4873e-07 | #DIV/0! |  | 1.6042e-06 | 1.2011e-05 | #DIV/0! | 0.000101 | 0.00075621 | #DIV/0! | 9.094e-05 | 0.00068089 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 3.5338e-06 | 2.5687e-05 | #DIV/0! | 0.033099 | 0.030428 | 0.030428 | 7.0878e-08 | 4.3895e-08 | 6.5242e-08 | 1e-07 | 6.6097e-08 | 6.2274e-08 | 4.9816e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3249e-07 | 3.2757e-07 | 4.9437e-07 | 7.4873e-07 | 5.0131e-07 | 4.714e-07 | 3.8408e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.99697 | 1.9462 | 1.1873 | 1.825 | 1.2153 | 1.825 | 1.2153 | 109.8051 | 103.8766 | 103.8766 | 8.7871e-08 | 6.5564e-08 | 9.1612e-08 | 1e-07 | 9.3853e-08 | 9.3747e-08 | 2.3938e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5511e-07 | 4.8908e-07 | 6.8771e-07 | 7.4873e-07 | 7.0477e-07 | 7.0308e-07 | 1.8081e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | -1.3785e-05 | -0.00058121
N2 | 28.0134 | 0 | 0 | 0 | 126.2 | 33.9 | 89.8 | 0.29 | 0.039 | 0 | 31.15 | -0.01357 | 2.68e-05 | -1.168e-08 | 0.0003919 | 9.816e-05 | -5.067e-08 | 1.504e-11 | 0 | 0 | 0 | 0 | 0 | 4e-07 | 0.00022462 | #DIV/0! |  | 1.1205e-05 | 0.0062923 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 1.1672e-05 | 0.006559 | #DIV/0! | 0.025272 | 0.023935 | 0.023935 | 4.1217e-07 | 2.6196e-07 | 3.9401e-07 | 6.0466e-07 | 4e-07 | 3.7927e-07 | 3.1832e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00022906 | 0.00014472 | 0.00022105 | 0.00033386 | 0.00022462 | 0.00021253 | 0.0018008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.98925 | 2.9363 | 1.0454 | 2.7534 | 1.0641 | 2.7534 | 1.0641 | 174.7395 | 166.2357 | 166.2357 | 3.6659e-07 | 2.9049e-07 | 3.9087e-07 | 4.1194e-07 | 4e-07 | 4.0239e-07 | 8.9129e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0002045 | 0.00016214 | 0.00021943 | 0.0002307 | 0.00022462 | 0.00022568 | 0.00050302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | -4.5389e-05 | -0.14569
O2 | 31.9988 | 0 | 0 | 0 | 154.6 | 50.4 | 73.4 | 0.288 | 0.025 | 0 | 28.11 | -3.68e-06 | 1.746e-05 | -1.065e-08 | -0.0003273 | 9.966e-05 | -3.743e-08 | 9.732e-12 | 0 | 0 | 0 | 0 | 0 | 1e-07 | 0.00022462 | #DIV/0! |  | 3.1999e-06 | 0.0071875 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 2.9349e-06 | 0.0065621 | #DIV/0! | 0.026006 | 0.024526 | 0.024526 | 1.0761e-07 | 6.9232e-08 | 1.0366e-07 | 1.5809e-07 | 1.0525e-07 | 1e-07 | 8.2668e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00023968 | 0.00015323 | 0.00023311 | 0.00034996 | 0.00023692 | 0.00022462 | 0.0018771 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.99311 | 2.3969 | 1.1084 | 2.2476 | 1.131 | 2.2476 | 1.131 | 202.2796 | 191.9584 | 191.9584 | 9.0675e-08 | 7.2923e-08 | 9.7044e-08 | 1.0151e-07 | 9.9265e-08 | 1e-07 | 2.139e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00020258 | 0.00016301 | 0.00021818 | 0.00022767 | 0.00022324 | 0.00022462 | 0.00048357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | -1.1419e-05 | -0.14623
He | 4.0026 | 0 | 0 | 0 | 5.19 | 2.27 | 57.4 | 0.302 | -0.365 | 0 | 20.8 | 0 | 0 | 0 | 0.03722 | 0.0003896 | -7.45e-08 | 1.129e-11 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | #DIV/0! |  | 4.0026 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 20.8 | 0 | #DIV/0! | 0.1457 | 0.13929 | 0.13929 | 0.23136 | 0.1434 | 0.19603 | 0.28235 | 0.19722 | 0.18457 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1.1006 | 71.3994 | 0.61558 | 66.951 | 0.62149 | 66.951 | 0.62149 | 168.1804 | 161.3063 | 161.3063 | 0.34629 | 0.23296 | 0.32497 | 0.38996 | 0.33079 | 0.32181 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | -80.8888 | 0
- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! |  | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0! | 0 | 0
[27 empty] | Sums | 4.0026 | 44.0024 | #DIV/0! | 0.00014311 | 0.016512 | #DIV/0! | 0.00012299 | 0.016385 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 20.8 | 36.1558 | #DIV/0! | [131 empty] | -80.8889 | -814.7724
[27 empty] | Specific gravity, - | 0.13821 | 1.5194 | #DIV/0!
[27 empty] | Density, kg/m3 | 0.50416 | 5.9106 | #DIV/0! | [152 empty] | cp feed | cp prod | cp waste
Water saturation calculations: | [26 empty] | Density, lb/ft3 | 0.031473 | 0.36899 | #DIV/0! | [152 empty] | J/gmole K | J/gmole K | J/gmole K
0.5454 | X = 1 - T/Tcrit,water | [25 empty] | HHV Heating value, BTU/scf |  |  |  | 0.00014311 | 0.016512 | #DIV/0! | [149 empty] | 20.8 | 36.1558 | #DIV/0!
0.025066 | bara, 100% water saturation pressure | [25 empty] | HHV Heating value, MJ/Nm3 |  |  |  | 5.6359e-06 | 0.00065025 | #DIV/0!
5.0132e-09 | bara, entered water saturation pressure | [25 empty] | HHV Heating value, kcal/Nm3 |  |  |  | 0.0013461 | 0.15531 | #DIV/0! | [149 empty] | cp (Tf - Tref) | cp (Tp - Tref)
2 | option for the saturation pressure calculation that has been enabled, if = 0 then disabled | [25 empty] | HHV Wobbe number, BTU/scf |  |  |  | 0.00038495 | 0.013395 | #DIV/0! | [149 empty] | J/gmole | J/gmole
1.6268e-09 | mole fraction of water vapor in feed stream | [25 empty] | HHV Wobbe number, MJ/Nm3 |  |  |  | 1.516e-05 | 0.00052752 | #DIV/0! | [149 empty] | -80.8889 | -803.4624
1 | (P_feed,total - P_H2O,saturated) / P_feed,total | [25 empty] | HHV Wobbe number, kcal/Nm3 |  |  |  | 0.0036208 | 0.126 | #DIV/0!
[27 empty] | LHV Heating value, BTU/scf | [6 empty] | 0.00012299 | 0.016385 | #DIV/0! | [146 empty] | ndot cp DT | ndot cp DT | Balance
1 | unit system entered, 1=vol%,2=wt% | [25 empty] | LHV Heating value, MJ/Nm3 | [6 empty] | 4.8435e-06 | 0.00064527 | #DIV/0! | [146 empty] | kJ/h | kJ/h | kJ/h
Entered value | Corrected entered value as fraction | Mass frac * mol weight | Mole % entered | 3.6031e-06 |  | 2e-05 | 9.0017e-05 | vol % : wt %, water in feed, if present | [18 empty] | LHV Heating value, kcal/Nm3 | [6 empty] | 0.0011569 | 0.15412 | #DIV/0! | [146 empty] | 0 | 0 | 0
1e-05 | 1e-07 | 2.2722e-09 | 1e-05 | 4.401e-06 |  | 1e-05 | 0.00010995 | vol % : wt%, feed corrected for water stauration if present, component 1 | [18 empty] | LHV Wobbe number, BTU/scf | [6 empty] | 0.00033083 | 0.013293 | #DIV/0!
1e-05 | 1e-07 | 3.5701e-09 | 1e-05 | 2.801e-06 |  | 1e-05 | 6.9979e-05 | vol % : wt%, feed corrected for water stauration if present, component 2 | [18 empty] | LHV Wobbe number, MJ/Nm3 | [6 empty] | 1.3028e-05 | 0.00052348 | #DIV/0! | [147 empty] | Heat loss, %feed = | 0
1e-05 | 1e-07 | 6.2335e-09 | 1e-05 | 1.6042e-06 |  | 1e-05 | 4.008e-05 | vol % : wt%, feed corrected for water stauration if present, component 3 | [18 empty] | LHV Wobbe number, kcal/Nm3 | [6 empty] | 0.0031117 | 0.12503 | #DIV/0! | [147 empty] | Waste gas H = | 0
4e-05 | 4e-07 | 1.4279e-08 | 4e-05 | 1.1205e-05 |  | 4e-05 | 0.00027995 | vol % : wt%, feed corrected for water stauration if present, component 4 | [18 empty] | Heat capacity, kJ/kgmole.K | [21 empty] | 20.8 | 36.1558 | #DIV/0! | [132 empty] | Twaste gas = | #DIV/0!
1e-05 | 1e-07 | 3.1251e-09 | 1e-05 | 3.1999e-06 |  | 1e-05 | 7.9945e-05 | vol % : wt%, feed corrected for water stauration if present, component 5 | [18 empty] | Heat capacity, kJ/kgmole.K | [21 empty] | 4.968 | 8.6357 | #DIV/0! | [132 empty] | = | #DIV/0!
99.9999 | 1 | 0.24984 | 99.9999 | 4.0026 |  | 99.9999 | 99.9993 | vol % : wt%, feed corrected for water stauration if present, component 6 | [18 empty] | Gamma = (Cp - R) / Cp | [21 empty] | 1.6659 | 1.2986 | #DIV/0! | [132 empty] | = | #DIV/0!
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | vol % : wt%, feed corrected for water stauration if present, component 7 | [18 empty] | yi ki / sum( yj φij) | [27 empty] | 1.5246e-08 | 1.1559e-08 | 1.2506e-08 | 1.1723e-08 | 5.1256e-08 | 1.409e-08 | 0.1457 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0535e-08 | 0.015091 | 1.1357e-06 | 9.4194e-09 | 3.3507e-06 | 3.6148e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | vol % : wt%, feed corrected for water stauration if present, component 8 | [18 empty] | Mixture thermal condictivity, W/m.K | [27 empty] | 0.1457 | 0.084184 | W/m.K : BTU ft/h ft2 F | [15 empty] | 0.0151 | 0.0087243 | W/m.K : BTU ft/h ft2 F | [15 empty] | #DIV/0! | #DIV/0! | W/m.K : BTU ft/h ft2 F
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | vol % : wt%, feed corrected for water stauration if present, component 9 | [18 empty] | yi ηi / sum( yj φij) | [92 empty] | 5.4795e-05 | 6.2421e-05 | 5.1323e-05 | 2.8158e-05 | 0.0002113 | 6.2857e-05 | 168.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5174e-05 | 136.4362 | 0.0057739 | 5.7034e-05 | 0.027037 | 0.030719 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | vol % : wt%, feed corrected for water stauration if present, component 10 | [18 empty] | Mixture viscosity, micropoise | [92 empty] | 168.1805 | 0.016818 | 1.6818e-05 | micropoise : Cpoise : Pa.s | [14 empty] | 136.4999 | 0.01365 | 1.365e-05 | micropoise : Cpoise : Pa.s | [14 empty] | #DIV/0! | #DIV/0! | #DIV/0! | micropoise : Cpoise : Pa.s
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | vol % : wt%, feed corrected for water stauration if present, component 11 | [18 empty] | Kinematic viscosity, m2/s | [94 empty] | 3.3359e-05 | 1.2927 | m2/s : ft2/h, kinematic viscosity | [15 empty] | 2.3094e-06 | 0.089489 | m2/s : ft2/h, kinematic viscosity | [15 empty] | #DIV/0! | #DIV/0! | m2/s : ft2/h, kinematic viscosity
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | vol % : wt%, feed corrected for water stauration if present, component 12 | [18 empty] | Thermal conductivity, W/m.K
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | vol % : wt%, feed corrected for water stauration if present, component 13 | [18 empty] | Species present, YES/NO | [146 empty] | NO | NO | NO | NO | NO | #DIV/0! | NO | NO | #DIV/0!
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | vol % : wt%, feed corrected for water stauration if present, component 14
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | vol % : wt%, feed corrected for water stauration if present, component 15
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | vol % : wt%, feed corrected for water stauration if present, component 16
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | vol % : wt%, feed corrected for water stauration if present, component 17
100 | 1 | 0.24984 | 100 | 4.0026 |  | 100 | 100 | vol % : wt%, total of water corrected feed stream
2e-05
100
Water dew point degF | Water dew point degC | ppmv of H2O |  |  | Trendline from -100 to -130 degF: y = 5.677440E-07x4 + 3.079902E-04x3 + 6.292828E-02x2 + 5.744898E+00x + 1.979499E+02: y = Water ppmv, x = degF, R2 = 9.999492E-01
-130 | -90 | 0.1 |  |  | 5.6774e-07 | ppmv/degF^4, coefficient multiplying x^4 term in water ppmv polynomial
-129 | -89.4444 | 0.1097 |  |  | 0.00030799 | ppmv/degF^3, coefficient multiplying x^3 term in water ppmv polynomial
-128 | -88.8889 | 0.12025 |  |  | 0.062928 | ppmv/degF^2, coefficient multiplying x^2 term in water ppmv polynomial
-127 | -88.3333 | 0.13175 |  |  | 5.7449 | ppmv/degF^1, coefficient multiplying x^1 term in water ppmv polynomial
-126 | -87.7778 | 0.14431 |  |  | 197.9499 | ppmv, coefficient multiplying x^0 term in water ppmv polynomial
-125 | -87.2222 | 0.15804 |  |  | 1 | dew point calculation enabled: 1 = degC dew point entered, 2=degF dew point entered
-124 | -86.6667 | 0.17309 |  |  | -104.8 | degF, desired dew point selected
-123 | -86.1111 | 0.18961 |  |  | -104 | degF, low value to interpolate from water dew point in product stream
-122 | -85.5556 | 0.20777 |  |  | -105 | degF, high value to interpolate from water dew point in product stream
-121 | -85 | 0.22773 |  |  | 1.08 | ppmv, low value of water dew point to interpolate from in product stream
-120 | -84.4444 | 0.25 |  |  | 1 | ppmv, high value of water dew point to interpolate from in product stream
-119 | -83.8889 | 0.27388 |  |  | 1.016 | ppmv, interpolated water saturation pressure if dew point option enabled
-118 | -83.3333 | 0.3005 |  |  | 0 | ppmv, water in product if volume percent option enabled
-117 | -82.7778 | 0.32977 |  |  | 0 | ppmv, water in product if ppmv option enabled
-116 | -82.2222 | 0.36196 |  |  | 1.016 | ppmv of water entered by user
-115 | -81.6667 | 0.39732 | [7 empty] | ID | Minimum | Maximum | Balance | Balance
-114 | -81.1111 | 0.43612 |  |  | 0.0001016 | vol %, water to correct to
-113 | -80.5556 | 0.47866 |  |  | 99.95 | vol %, product component 1 as entered
-112 | -80 | 0.52523 |  |  | 0.0049 | vol %, product component 2 as entered |  |  |  | 2 | 0 | 0.0049 | 0 | 0
-111 | -79.4444 | 0.57615 |  |  | 0.0001 | vol %, product component 3 as entered |  |  |  | 3 | 0 | 0 | 0.0001 | 0.0016639
-110 | -78.8889 | 0.63 |  |  | 0.03 | vol %, product component 4 as entered |  |  |  | 3 | 0 | 0 | 0.03 | 0.49917
-109 | -78.3333 | 0.69237 |  |  | 0.03 | vol %, product component 5 as entered |  |  |  | 3 | 0 | 0 | 0.03 | 0.49917
-108 | -77.7778 | 0.75837 |  |  | 0 | vol %, product component 6 as entered |  |  |  | 0 | 0 | 0 | 0 | 0
-107 | -77.2222 | 0.83011 |  |  | 0 | vol %, product component 7 as entered |  |  |  | 0 | 0 | 0 | 0 | 0
-106 | -76.6667 | 0.90798 |  |  | 0 | vol %, product component 8 as entered |  |  |  | 0 | 0 | 0 | 0 | 0
-105 | -76.1111 | 1 |  |  | 0 | vol %, product component 9 as entered |  |  |  | 0 | 0 | 0 | 0 | 0
-104 | -75.5556 | 1.08 |  |  | 0 | vol %, product component 10 as entered |  |  |  | 0 | 0 | 0 | 0 | 0
-103 | -75 | 1.18 |  |  | 0 | vol %, product component 11 as entered |  |  |  | 0 | 0 | 0 | 0 | 0
-102 | -74.4444 | 1.29 |  |  | 0 | vol %, product component 12 as entered |  |  |  | 0 | 0 | 0 | 0 | 0
-101 | -73.8889 | 1.4 |  |  | 0 | vol %, product component 13 as entered |  |  |  | 0 | 0 | 0 | 0 | 0
-100 | -73.3333 | 1.53 |  |  | 0 | vol %, product component 14 as entered |  |  |  | 0 | 0 | 0 | 0 | 0
-99 | -72.7778 | 1.66 |  |  | 0 | vol %, product component 15 as entered |  |  |  | 0 | 0 | 0 | 0 | 0
-98 | -72.2222 | 1.81 |  |  | 0 | vol %, product component 16 as entered |  |  |  | 0 | 0 | 0 | 0 | 0
-97 | -71.6667 | 1.96 |  |  | 0 | vol %, product component 17 as entered |  |  |  | 0 | 0 | 0 | 0 | 0
-96 | -71.1111 | 2.15 | [8 empty] | 0 | 0.0049 | 0.0601 | 1
-95 | -70.5556 | 2.35 |  |  | 0.044998 | vol %, left over from 100% of non-water, non-product, non-MINIMUM(ID = 1) and non-MAXIMUM(ID = 2) species
-94 | -70 | 2.54
-93 | -69.4444 | 2.76
-92 | -68.8889 | 3
-91 | -68.3333 | 3.28
-90 | -67.7778 | 3.53 |  |  | 1.8304e-05 |  | 0.0001016 | 4.1597e-05 | vol % : wt%, water in product, if present
-89 | -67.2222 | 3.84 |  |  | 43.9875 |  | 99.95 | 99.9662 | vol % : wt %, product corrected for water, component 1 ---> this is desired component and is always set to entered value, does not get corrected
-88 | -66.6667 | 4.15 |  |  | 0.0013725 |  | 0.0049 | 0.0031191 | vol % : wt %, product corrected for water, component 2
-87 | -66.1111 | 4.5 |  |  | 1.2011e-05 |  | 7.4873e-05 | 2.7297e-05 | vol % : wt %, product corrected for water, component 3
-86 | -65.5556 | 1.78 |  |  | 0.0062923 |  | 0.022462 | 0.0143 | vol % : wt %, product corrected for water, component 4
-85 | -65 | 5.3 |  |  | 0.0071875 |  | 0.022462 | 0.016334 | vol % : wt %, product corrected for water, component 5
-84 | -64.4444 | 5.7 |  |  | 0 |  | 0 | 0 | vol % : wt %, product corrected for water, component 6
-83 | -63.8889 | 6.2 |  |  | 0 |  | 0 | 0 | vol % : wt %, product corrected for water, component 7
-82 | -63.3333 | 6.6 |  |  | 0 |  | 0 | 0 | vol % : wt %, product corrected for water, component 8
-81 | -62.7778 | 7.2 |  |  | 0 |  | 0 | 0 | vol % : wt %, product corrected for water, component 9
-80 | -62.2222 | 7.8 |  |  | 0 |  | 0 | 0 | vol % : wt %, product corrected for water, component 10
-79 | -61.6667 | 8.4 |  |  | 0 |  | 0 | 0 | vol % : wt %, product corrected for water, component 11
-78 | -61.1111 | 9.1 |  |  | 0 |  | 0 | 0 | vol % : wt %, product corrected for water, component 12
-77 | -60.5556 | 9.8 |  |  | 0 |  | 0 | 0 | vol % : wt %, product corrected for water, component 13
-76 | -60 | 10.5 |  |  | 0 |  | 0 | 0 | vol % : wt %, product corrected for water, component 14
-75 | -59.4444 | 11.4 |  |  | 0 |  | 0 | 0 | vol % : wt %, product corrected for water, component 15
-74 | -58.8889 | 12.3 |  |  | 0 |  | 0 | 0 | vol % : wt %, product corrected for water, component 16
-73 | -58.3333 | 13.3 |  |  | 0 |  | 0 | 0 | vol % : wt %, product corrected for water, component 17
-72 | -57.7778 | 14.3 |  |  | 44.0024 |  | 100 | 100 | vol % : wt %, total of water corrected product stream
-71 | -57.2222 | 15.4
-70 | -56.6667 | 16.5
-69 | -56.1111 | 17.9
-68 | -55.5556 | 19.2
-67 | -55 | 20.6
-66 | -54.4444 | 22.1
-65 | -53.8889 | 23.6
-64 | -53.3333 | 25.6
-63 | -52.7778 | 27.5
-62 | -52.2222 | 29.4
-61 | -51.6667 | 31.7
-60 | -51.1111 | 34
-59 | -50.5556 | 36.5
-58 | -50 | 39
-57 | -49.4444 | 41.8
-56 | -48.8889 | 44.6
-55 | -48.3333 | 48
-54 | -47.7778 | 51
-53 | -47.2222 | 55
-52 | -46.6667 | 59
-51 | -46.1111 | 62
-50 | -45.5556 | 67
-49 | -45 | 72
-48 | -44.4444 | 76
-47 | -43.8889 | 82
-46 | -43.3333 | 87
-45 | -42.7778 | 92
-44 | -42.2222 | 98
-43 | -41.6667 | 105
-42 | -41.1111 | 113
-41 | -40.5556 | 119
-40 | -40 | 128
-39 | -39.4444 | 136
-38 | -38.8889 | 144
-37 | -38.3333 | 153
-36 | -37.7778 | 164
-35 | -37.2222 | 174
-34 | -36.6667 | 185
-33 | -36.1111 | 196
-32 | -35.5556 | 210
-31 | -35 | 222
-30 | -34.4444 | 235
-29 | -33.8889 | 250
-28 | -33.3333 | 265
-27 | -32.7778 | 283
-26 | -32.2222 | 300
-25 | -31.6667 | 317
-24 | -31.1111 | 338
-23 | -30.5556 | 358
-22 | -30 | 378
-21 | -29.4444 | 400
-20 | -28.8889 | 422
-19 | -28.3333 | 448
-18 | -27.7778 | 475
-17 | -27.2222 | 500
-16 | -26.6667 | 530
-15 | -26.1111 | 560
-14 | -25.5556 | 590
-13 | -25 | 630
-12 | -24.4444 | 660
-11 | -23.8889 | 700
-10 | -23.3333 | 740
-9 | -22.7778 | 780
-8 | -22.2222 | 820
-7 | -21.6667 | 870
-6 | -21.1111 | 920
-5 | -20.5556 | 970
-4 | -20 | 1020
0 | -17.7778 | 1270
Mole balance
|  | 4 | Selected feed flow unit
|  | 0 | m3/h, reference feed volume flow selected
|  | 273.15 | K, reference temperature
|  | 101325 | Pa, reference pressure
|  | 0 | kgmole/h, entered molar feed flow
Guaranteed flows
|  |  | Component 2 recovery | 0
|  | kgmole/h |  | kgmole/h |  | kgmole/h
| n Feed | 0 | n Prod | 0 | n WstGas | 0
| y Feed | n Feed,i | y Prod | n Prod,i | y WstGas | n WstGas,i
Component 1 | 2e-07 | 0 | 1.016e-06 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt%, water in waste gas, if present
Component 2 | 1e-07 | 0 | 0.9995 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 1
Component 3 | 1e-07 | 0 | 4.9e-05 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 2
Component 4 | 1e-07 | 0 | 7.4873e-07 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 3
Component 5 | 4e-07 | 0 | 0.00022462 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 4
Component 6 | 1e-07 | 0 | 0.00022462 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 5
Component 7 | 1 | 0 | 0 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 6
Component 8 | 0 | 0 | 0 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 7
Component 9 | 0 | 0 | 0 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 8
Component 10 | 0 | 0 | 0 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 9
Component 11 | 0 | 0 | 0 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 10
Component 12 | 0 | 0 | 0 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 11
Component 13 | 0 | 0 | 0 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 12
Component 14 | 0 | 0 | 0 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 13
Component 15 | 0 | 0 | 0 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 14
Component 16 | 0 | 0 | 0 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 15
Component 17 | 0 | 0 | 0 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 16
Component 18 | 0 | 0 | 0 | 0 | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, waste gas corrected for water, component 17
mol wt | 4.0026 |  | 44.0024 |  | #DIV/0! |  |  | #DIV/0! |  | #DIV/0! | #DIV/0! | vol % : wt %, total of water corrected waste gas stream
scfh |  | 0 |  | 0 |  | 0
Nm3/h |  | 0 |  | 0 |  | 0
MMscfd |  | 0 |  | 0 |  | 0 |  |  |  |  | Water density fit as a function of temperature between 2 and 69 degC
kg/h |  | 0 |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  |  | y = -2.11256119E-07x4 + 5.26175927E-05x3 - 7.97172419E-03x2 + 5.71181748E-02x + 9.99823179E+02
kgmole/h |  | 0 |  | 0 |  | 0 |  |  |  |  | R² = 9.99999663E-01
tonnes/day |  | 0 |  | 0 |  | #DIV/0! |  |  |  |  | A | -2.1126e-07
display | 2 | 0 |  | 0 |  | 0 |  |  |  |  | B | 5.2618e-05
liquid water density | 21.1111 | 997.9293 | 2.7778 | 999.9214 | 2.7778 | 999.9214 |  |  |  |  | C | -0.0079717
water flow, kg/hr |  | 0 |  | 0 |  | #DIV/0! |  |  |  |  | D | 0.057118
water flow, l/day |  | 0 |  | 0 |  | #DIV/0! |  |  |  |  | E | 999.8232
water flow, gal/day |  | 0 |  | 0 |  | #DIV/0!
Expected flows
|  |  | Component 2 recovery | 0
|  | kgmole/h |  | kgmole/h |  | kgmole/h
| n Feed | 0 | n Prod | 0 | n WstGas | 0
| y Feed | n Feed,i | y Prod | n Prod,i | y WstGas | n WstGas,i | MWt term
Component 1 | 2e-07 | 0 | 1.016e-06 | 0 | #DIV/0! | 0 | #DIV/0!
Component 2 | 1e-07 | 0 | 0.9995 | 0 | #DIV/0! | 0 | #DIV/0!
Component 3 | 1e-07 | 0 | 4.9e-05 | 0 | #DIV/0! | 0 | #DIV/0!
Component 4 | 1e-07 | 0 | 7.4873e-07 | 0 | #DIV/0! | 0 | #DIV/0!
Component 5 | 4e-07 | 0 | 0.00022462 | 0 | #DIV/0! | 0 | #DIV/0!
Component 6 | 1e-07 | 0 | 0.00022462 | 0 | #DIV/0! | 0 | #DIV/0!
Component 7 | 1 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
Component 8 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
Component 9 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
Component 10 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
Component 11 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
Component 12 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
Component 13 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
Component 14 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
Component 15 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
Component 16 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
Component 17 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
Component 18 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0!
mol wt | 4.0026 |  | 44.0024 |  | #DIV/0!
scfh |  | 0 |  | 0 |  | 0
Nm3/h |  | 0 |  | 0 |  | 0
MMscfd |  | 0 |  | 0 |  | 0
kg/h |  | 0 |  | 0 |  | #DIV/0! |  | #DIV/0! | #DIV/0!
kgmole/h |  | 0 |  | 0 |  | 0
tonnes/day |  | 0 |  | 0 |  | #DIV/0!
display | 2 | 0 |  | 0 |  | 0

## Process DB
PROCESS DATASHEET
| PROCESS CONDITIONS | [22 empty] | -241826
|  |  |  | kg/kgmole | BTU/scf |  |  | K | bara | cm3/gmole | - | - | debeyes | J/gmole K | J/gmole K2 | J/gmole K3 | J/gmole K4 | W/m K | W/m K2 | W/m K3 | W/m K4 | - | BTU/scf | J/gmole
|  | ID | Formula | MW | HHV | C2+ HC | C5+ HC | Tcrit | Pcrit | Vcrit | Zcrit | Accentric factor | Dipole moment | Cp term 1 | Cp term 2 | Cp term 3 | Cp term 4 | k term 1 | k term 2 | k term 3 | k term 4 | Association factor for viscosity | LHV | Ref enthalpy
|  | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2 METHYL PENTANE - C6H14 | C6H14 | 86.1754 | 4747 | 1 | 1 | 497.5 | 30.1 | 367 | 0.267 | 0.278 | 0 | -10.57 | 0.6184 | -0.0003573 | 8.085e-08 |  |  |  |  | 0 | 4395
|  | ACETYLENE - C2H2 | C2H2 | 26.0373 | 1474 | 1 | 0 | 308.3 | 61.4 | 112.7 | 0.27 | 0.19 | 0 | 26.82 | 0.07578 | -5.007e-05 | 1.412e-08 | 0.0049992 | -2.5733e-05 | 3.5071e-07 | -2.765e-10 | 0 | 1424 | 226900
|  | AMMONIA - NH3 | NH3 | 17.0305 | 0 | 0 | 0 | 405.5 | 113.5 | 72.5 | 0.244 | 0.25 | 1.5 | 27.31 | 0.02383 | 1.707e-05 | -1.185e-08 | 0.0003811 | 5.389e-05 | 1.227e-07 | -3.635e-11 | 0 | 359.18 | -45720
|  | ARGON - Ar | Ar | 39.948 | 0 | 0 | 0 | 150.8 | 48.7 | 74.9 | 0.291 | 0.001 | 0 | 20.8 | 0 | 0 | 0 | 0.002714 | 5.54e-05 | -2.718e-08 | 5.528e-12 | 0 | 0 | 0
|  | BENZENE - C6H6 | C6H6 | 78.1118 | 3742 | 1 | 1 | 562.2 | 48.9 | 259 | 0.271 | 0.212 | 0 | -33.92 | 0.4739 | -0.0003017 | 7.13e-08 | -0.008455 | 3.618e-05 | 9.799e-08 | -4.058e-11 | 0 | 3591
|  | CARBON DIOXIDE - CO2 | CO2 | 44.0095 | 0 | 0 | 0 | 304.1 | 73.8 | 93.9 | 0.274 | 0.239 | 0 | 19.8 | 0.07344 | -5.602e-05 | 1.715e-08 | -0.007215 | 8.015e-05 | 5.477e-09 | -1.053e-11 | 0 | 0 | -393522
|  | CARBON MONOXIDE - CO | CO | 28.0101 | 320.5 | 0 | 0 | 132.9 | 35 | 93.2 | 0.295 | 0.066 | 0.1 | 30.87 | -0.01285 | 2.789e-05 | -1.272e-08 | 0.0005067 | 9.125e-05 | -3.524e-08 | 8.199e-12 | 0 | 320.5 | -110527
|  | CHLORINE - Cl2 | Cl2 | 70.906 |  | 0 | 0 | 416.9 | 79.8 | 123.8 | 0.285 | 0.09 | 0 | 26.93 | 0.03384 | -3.869e-05 | 1.547e-08 | 0.001361 | 2.429e-05 | 8.794e-09 | -5.235e-12 | 0 | 0 | 0
|  | CYCLOBUTANE - C4H8 | C4H8 | 56.1063 | 2747 | 1 | 0 | 460 | 49.9 | 210 | 0.274 | 0.181 | 0 | -50.25 | 0.5024 | -0.0003558 | 1.047e-07 | -0.009795 | 3.823e-05 | 1.474e-07 | -6.202e-11 | 0 | 2911
|  | CYCLOHEXANE - C6H12 | C6H12 | 84.1595 | 4482 | 1 | 1 | 553.5 | 40.7 | 308 | 0.273 | 0.212 | 0.3 | -54.54 | 0.6113 | -0.0002523 | 1.321e-08 | -0.008614 | 1.863e-05 | 1.704e-07 | -7.249e-11 | 0 | 4180 | -123200
|  | CYCLOPENTANE - C5H10 | C5H10 | 70.1329 | 3764 | 1 | 1 | 511.7 | 45.1 | 260 | 0.275 | 0.196 | 0 | -53.62 | 0.5426 | -0.0003031 | 6.485e-08 | -0.008522 | 2.475e-05 | 1.621e-07 | -6.914e-11 | 0 | 3512
|  | CYCLOPROPANE - C3H6 | C3H6 | 42.0797 | 2371 | 1 | 0 | 397.8 | 54.9 | 163 | 0.274 | 0.13 | 0 | -35.24 | 0.3813 | -0.0002881 | 9.035e-08 | -0.008568 | 4.079e-05 | 1.579e-07 | -6.817e-11 | 0 | 2220 | 53340
|  | ETHANE - C2H6 | C2H6 | 30.069 | 1769.7 | 1 | 0 | 305.4 | 48.8 | 148.3 | 0.285 | 0.099 | 0 | 5.409 | 0.1781 | -6.938e-05 | 8.713e-09 | -0.03174 | 0.0002201 | -1.923e-07 | 1.664e-10 | 0 | 1618.7 | -84740
|  | ETHYL BENZENE - C8H10 | C8H10 | 106.165 | 5227.4 | 1 | 1 | 617.2 | 36 | 374 | 0.262 | 0.302 | 0.4 | -43.1 | 0.7072 | -0.0004811 | 1.301e-07 | 0.000603 | -5.863e-06 | 2.14e-07 | -8.924e-11 | 0 | 4975.8
|  | ETHYLENE - C2H4 | C2H4 | 28.0532 | 1600 | 1 | 0 | 282.4 | 50.4 | 130.4 | 0.28 | 0.089 | 0 | 3.806 | 0.1566 | -8.348e-05 | -1.366e-11 | -0.0176 | 0.00012 | 3.335e-08 | -1.366e-11 | 0 | 1499 | 52340
|  | HELIUM - He | He | 4.0026 | 0 | 0 | 0 | 5.19 | 2.27 | 57.4 | 0.302 | -0.365 | 0 | 20.8 | 0 | 0 | 0 | 0.03722 | 0.0003896 | -7.45e-08 | 1.129e-11 | 0 | 0 | 0
|  | HEPTANE - C7H16 | C7H16 | 100.2019 | 5502.5 | 1 | 1 | 540.3 | 27.4 | 432 | 0.263 | 0.349 | 0 | -5.146 | 0.6762 | -0.0003651 | 7.658e-08 |  |  |  |  | 0 | 5100.3
|  | HEXANE - C6H14 | n-C6H14 | 86.1754 | 4755.9 | 1 | 1 | 507.5 | 30.1 | 370 | 0.264 | 0.299 | 0 | -4.413 | 0.582 | -0.0003119 | 6.494e-08 | 4.6932e-06 | -1.1597e-06 | 1.5046e-07 | -9.6152e-12 | 0 | 4403.9 | -167300
|  | HYDROGEN - H2 | H2 | 2.0159 | 324.2 | 0 | 0 | 33.2 | 13 | 65.1 | 0.306 | -0.218 | 0 | 27.14 | 0.009274 | -1.381e-05 | 7.645e-09 | 0.008099 | 0.0006689 | -4.158e-07 | 1.562e-10 | 0 | 273.93 | 0
|  | HYDROGEN SULFIDE - H2S | H2S | 34.0799 | 637.1 | 0 | 0 | 373.2 | 89.4 | 98.6 | 0.284 | 0.081 | 0.9 | 31.94 | 0.001436 | 2.432e-05 | -1.176e-08 | 0.0001431 | 4.993e-05 | 2.556e-08 | -1.226e-11 | 0 | 586.8 | -20180
|  | ISO BUTANE - iC4H10 | i-C4H10 | 58.1222 | 3251.6 | 1 | 0 | 408.2 | 36.5 | 263 | 0.283 | 0.183 | 0.1 | -1.39 | 0.3847 | -0.0001846 | 2.895e-08 | 1.5022e-05 | 3.4648e-07 | 1.5122e-07 | 6.8098e-11 | 0 | 3000.4 | -134600
|  | ISO PENTANE - iC5H12 | i-C5H12 | 72.1488 | 4000.9 | 1 | 1 | 460.4 | 33.9 | 306 | 0.271 | 0.227 | 0.1 | -95.25 | 0.5066 | -0.0002729 | 5.723e-08 | -0.0060451 | 3.9853e-05 | 1.024e-07 | 0 | 0 | 3699
|  | Krypton - Kr | Kr | 83.798 | 0 | 0 | 0 | 209.48 | 55.2498 | 92.1659 | 0.29242 | -0.00089 | 0 | 20.8 | 0 | 0 | 0 | 2.9256e-05 | 3.6518e-08 | -1.3386e-10 | 1.1929e-13 | 0 | 0
|  | METHANE - CH4 | CH4 | 16.0425 | 1010 | 0 | 0 | 190.4 | 46 | 99.2 | 0.288 | 0.011 | 0 | 19.25 | 0.05213 | 1.197e-05 | -1.132e-08 | -0.001869 | 8.727e-05 | 1.179e-07 | -3.614e-11 | 0 | 909.4 | -74873
|  | METHYL CYCLO PENTANE - C6H12 | C6H12 | 84.1595 | 4504.512 | 1 | 1 | 532.7 | 37.8 | 319 | 0.272 | 0.231 | 0 | -50.11 | 0.6381 | -0.0003642 | 8.014e-08 |  |  |  |  | 0 | 4202.64
|  | NITROGEN - N2 | N2 | 28.0134 | 0 | 0 | 0 | 126.2 | 33.9 | 89.8 | 0.29 | 0.039 | 0 | 31.15 | -0.01357 | 2.68e-05 | -1.168e-08 | 0.0003919 | 9.816e-05 | -5.067e-08 | 1.504e-11 | 0 | 0 | 0
|  | NORMAL BUTANE - nC4H10 | n-C4H10 | 58.1222 | 3262.3 | 1 | 0 | 425.2 | 38 | 255 | 0.274 | 0.199 | 0 | 9.487 | 0.3313 | -0.0001108 | -2.822e-09 | 1.3204e-05 | 6.3308e-06 | 1.5938e-07 | -1.2069e-11 | 0 | 3010.8 | -126200
|  | NORMAL PENTANE - nC5H12 | n-C5H12 | 72.1488 | 4008.9 | 1 | 1 | 469.7 | 33.7 | 304 | 0.263 | 0.251 | 0 | -3.626 | 0.4873 | -0.000258 | 5.305e-08 | 1.32e-05 | 2.134e-06 | 2.367e-07 | -1.803e-11 | 0 | 3703.9 | -146500
|  | OCTANE - C8H18 | C8H18 | 114.2285 | 6248.9 | 1 | 1 | 568.8 | 24.9 | 492 | 0.259 | 0.398 | 0 | -6.096 | 0.7712 | -0.0004195 | 8.855e-08 |  |  |  |  | 0 | 5796.2
|  | OXYGEN - O2 | O2 | 31.9988 | 0 | 0 | 0 | 154.6 | 50.4 | 73.4 | 0.288 | 0.025 | 0 | 28.11 | -3.68e-06 | 1.746e-05 | -1.065e-08 | -0.0003273 | 9.966e-05 | -3.743e-08 | 9.732e-12 | 0 | 0 | 0
|  | PROPANE - C3H8 | C3H8 | 44.0956 | 2516.1 | 1 | 0 | 369.8 | 42.5 | 203 | 0.281 | 0.153 | 0 | -4.224 | 0.3063 | -0.0001586 | 3.215e-08 | 0.001858 | -4.698e-06 | 2.177e-07 | -8.409e-11 | 0 | 2314.9 | -103900
|  | PROPYLENE - C3H6 | C3H6 | 42.0797 | 2333 | 1 | 0 | 364.9 | 46 | 181 | 0.274 | 0.144 | 0.4 | 3.71 | 0.2345 | -0.000116 | 2.205e-08 | -0.007584 | 6.101e-05 | 9.966e-08 | -3.84e-11 | 0 | 2182 | 20430
|  | STYRENE - C8H8 | C8H8 | 104.1491 | 4984.228 | 1 | 1 | 647 | 39.9 | 35.1999 |  | 0.257 | 0.1 | -28.25 | 0.6159 | -0.0004023 | 9.935e-08 | 0.0008752 | -1.926e-06 | 1.244e-07 | -5.071e-11 | 0 | 4782.98
|  | TOLUENE - C7H8 | C7H8 | 92.1384 | 4479.328 | 1 | 1 | 591.8 | 41 | 316 | 0.263 | 0.263 | 0.4 | -24.35 | 0.5125 | -0.0002765 | 4.911e-08 | 0.007596 | -4.008e-05 | 2.37e-07 | -9.305e-11 | 0 | 4278.08
Water vapor feed units
% SATURATED
VOL %
PPMV
Feed units
VOL %
WT %
Water vapor product composition selector
°C DEW POINT
°F DEW POINT
VOL %
VOL % MIN
VOL % MAX
PPMV
PPMV MIN
PPMV MAX
Product composition selector
VOL %
PPMV
MINIMUM
MAXIMUM
BALANCE
Final composition to view selector
VOL %
WT %
Feed flow units
SCFH (60°F)
NM3/H (0°C)
MMSCFD (60°F)
KG/H
KGMOLE/H
Stream flow units
SCFH (60°F)
NM3/H (0°C)
MMSCFD (60°F)
KG/H
KGMOLE/H
TONNES/DAY
Pressure units
BARA
BARG
PSIA
PSIG
KG/CM2 A
KG/CM2 G
Absolute pressure units
BARA
PSIA
Temperature units
°C
°F
Yes/No selector
YES
NO
Fluid Contents
|  | Common Cylinder Gas IDs | Gas ID Tag
|  | Ammonia, NH3 (Research Purity) | ID 1 | Value 1
|  | Argon, Ar (Research Purity) | ID 2 | Value 2
|  | Carbon Dioxide, CO2 (Research Purity) | ID 3 | Value 3
|  | Carbon Monoxide, CO (Research Purity) | ID 4 | Value 4
|  | Chlorine, Cl2 (Research Purity) | ID 5 | Value 5
|  | Ethane, C2H6 (Research Purity) | ID 6 | Value 6
|  | Helium, He (Research Purity) | ID 7 | Value 7
|  | Hydrogen, H2 (Research Purity) | ID 8 | Value 8
|  | Methane, CH4 (Research Purity) | ID 9 | Value 9
|  | Nitrogen, N2 (Research Purity) | ID 10 | Value 10
|  | Oxygen, O2 (Research Purity) | ID 11 | Value 11
|  | Krypton, Kr (Research Purity) | ID 12 | Value 12
|  | Ethylene, C2H4 (Research Purity) | ID 13 | Value 13
|  |  | ID 14 | Value 14
|  |  | ID 15 | Value 15
Composition
Gas ID Tag
|  |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15
|  |  | ID 1 | Value 1 | ID 2 | Value 2 | ID 3 | Value 3 | ID 4 | Value 4 | ID 5 | Value 5 | ID 6 | Value 6 | ID 7 | Value 7 | ID 8 | Value 8 | ID 9 | Value 9 | ID 10 | Value 10 | ID 11 | Value 11 | ID 12 | Value 12 | ID 13 | Value 13 | ID 14 | Value 14 | ID 15 | Value 15
|  | Component 1 | Water Vapor - H2O | 0.0002 | Water Vapor - H2O | 0.0001 | Water Vapor - H2O | 0.0002 | Water Vapor - H2O | 0.0001 | Water Vapor - H2O | 0.0002 | Water Vapor - H2O | 0.0004 | Water Vapor - H2O | 2e-05 | Water Vapor - H2O | 5e-05 | Water Vapor - H2O | 0.0001 | Water Vapor - H2O | 2e-05 | Water Vapor - H2O | 0.0001 | Water Vapor - H2O | 0.0004 | Water Vapor - H2O | 0.0002 | Water Vapor - H2O |  | Water Vapor - H2O
|  | Component 2 | CARBON DIOXIDE - CO2 | 0.0001 | CARBON DIOXIDE - CO2 | 0.0001 | CARBON MONOXIDE - CO | 2e-05 | CARBON DIOXIDE - CO2 | 0.0003 | CARBON DIOXIDE - CO2 | 0.0004 | ACETYLENE - C2H2 | 5e-05 | CARBON DIOXIDE - CO2 | 1e-05 | CARBON DIOXIDE - CO2 | 1e-05 | CARBON DIOXIDE - CO2 | 0.0002 | CARBON DIOXIDE - CO2 | 1e-05 | ARGON - Ar | 0.0005 | ARGON - Ar | 0.0011 | ACETYLENE - C2H2 | 0.0001
|  | Component 3 | CARBON MONOXIDE - CO | 1e-05 | CARBON MONOXIDE - CO | 1e-05 | HYDROGEN - H2 | 0.0001 | HYDROGEN - H2 | 0.0001 | CARBON MONOXIDE - CO | 5e-05 | NORMAL BUTANE - nC4H10 | 5e-05 | CARBON MONOXIDE - CO | 1e-05 | CARBON MONOXIDE - CO | 1e-05 | CARBON MONOXIDE - CO | 0.0001 | CARBON MONOXIDE - CO | 1e-05 | CARBON DIOXIDE - CO2 | 1e-05 | CARBON DIOXIDE - CO2 | 0.0001 | CARBON DIOXIDE - CO2 | 0.0002
|  | Component 4 | METHANE - CH4 | 1e-05 | NITROGEN - N2 | 0.0001 | NITROGEN - N2 | 0.0001 | METHANE - CH4 | 0.0001 | METHANE - CH4 | 1e-05 | CARBON DIOXIDE - CO2 | 0.0001 | METHANE - CH4 | 1e-05 | METHANE - CH4 | 1e-05 | ETHANE - C2H6 | 0.0003 | METHANE - CH4 | 1e-05 | CARBON MONOXIDE - CO | 1e-05 | CARBON MONOXIDE - CO | 0.0001 | CARBON MONOXIDE - CO | 0.0001
|  | Component 5 | NITROGEN - N2 | 0.0002 | OXYGEN - O2 | 5e-05 | OXYGEN - O2 | 0.0001 | NITROGEN - N2 | 0.001 | NITROGEN - N2 | 0.0002 | ETHYLENE - C2H4 | 0.0007 | NITROGEN - N2 | 4e-05 | NITROGEN - N2 | 5e-05 | ETHYLENE - C2H4 | 0.0001 | OXYGEN - O2 | 5e-05 | HYDROGEN - H2 | 1e-05 | HELIUM - He | 0.0001 | ETHANE - C2H6 | 0.0005
|  | Component 6 | OXYGEN - O2 | 0.0001 | HEXANE - C6H14 | 1e-05 | METHANE - CH4 | 0.0004 | OXYGEN - O2 | 5e-05 | OXYGEN - O2 | 0.0001 | HYDROGEN - H2 | 5e-05 | OXYGEN - O2 | 1e-05 | OXYGEN - O2 | 1e-05 | HYDROGEN - H2 | 0.0001 | NITROGEN - N2 | 99.9999 | NITROGEN - N2 | 0.0005 | HYDROGEN - H2 | 0.0001 | HYDROGEN - H2 | 0.0001
|  | Component 7 | AMMONIA - NH3 | 99.9992 | ARGON - Ar | 99.9999 | CARBON DIOXIDE - CO2 | 99.999 | CARBON MONOXIDE - CO | 99.998 | CHLORINE - Cl2 | 99.999 | ISO BUTANE - iC4H10 | 5e-05 | HELIUM - He | 99.9999 | HYDROGEN - H2 | 99.9999 | NITROGEN - N2 | 0.0004 | - |  | METHANE - CH4 | 0.00031 | METHANE - CH4 | 0.00011 | METHANE - CH4 | 0.0001
|  | Component 8 | - |  | - |  | - |  | - |  | - |  | METHANE - CH4 | 0.0002 | - |  | - |  | OXYGEN - O2 | 0.0001 | - |  | OXYGEN - O2 | 99.998 | NITROGEN - N2 | 0.001 | NITROGEN - N2 | 0.0002
|  | Component 9 | - |  | - |  | - |  | - |  | - |  | NITROGEN - N2 | 0.0004 | - |  | - |  | PROPANE - C3H8 | 0.0001 | - |  | - |  | OXYGEN - O2 | 0.0002 | OXYGEN - O2 | 0.0002
|  | Component 10 | - |  | - |  | - |  | - |  | - |  | OXYGEN - O2 | 0.0002 | - |  | - |  | PROPYLENE - C3H6 | 0.0001 | - |  | - |  | Krypton - Kr | 99.998 | PROPANE - C3H8 | 0.0001
|  | Component 11 | - |  | - |  | - |  | - |  | - |  | PROPANE - C3H8 | 0.001 | - |  | - |  | METHANE - CH4 | 99.999 | - |  | - |  | - |  | PROPYLENE - C3H6 | 0.0001
|  | Component 12 | - |  | - |  | - |  | - |  | - |  | PROPYLENE - C3H6 | 0.0017 | - |  | - |  | - |  | - |  | - |  | - |  | ETHYLENE - C2H4 | 99.999
|  | Component 13 | - |  | - |  | - |  | - |  | - |  | ETHANE - C2H6 | 99.995 | - |  | - |  | - |  | - |  | - |  | - |  | -
|  | Component 14 | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | -
|  | Component 15 | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | -
|  | Component 16 | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | -
|  | Component 17 | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | -
|  | Component 18 | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | - |  | -